## Sheet1
Item Number | Item Description | Quantity | UM | To Location | To Unit Cost | To Extended Amount | WO#
5307114 | RAL 7035 WHD 800x20 | 4 | EA | SITE | 6058.94 | 24235.77 | 274
8108245 | Side panel, screw-fastened | 15 | EA | SITE | 759.1972 | 11387.96 | 274
5503020 | Fan mounting plate | 19 | EA | SITE | 880.9758 | 16738.54 | 274
7990000 | DK Fan expansion kit | 38 | EA | SITE | 157.0123 | 5966.47 | 274
3110000 | SK Thermostat | 16 | EA | SITE | 103.0707 | 1649.13 | 274
6450060 | SM Connection cable, For power | 19 | EA | SITE | 30.2049 | 573.89 | 274
5302120 | VX Cable route | 48 | EA | SITE | 393.2941 | 18878.12 | 274
5302052 | IT Cable duct | 38 | EA | SITE | 518.3894 | 19698.8 | 274
5502205 | DK Cable management panel, 1 U | 116 | EA | SITE | 121.6276 | 14108.8 | 274
7113000 | DK7113 EARTH RAIL | 21 | EA | SITE | 118.6979 | 2492.66 | 274
5301337 | VX IT Gland plate | 16 | EA | SITE | 165.2423 | 2643.88 | 274
5302201 | Ventilation panel, 482.6 mm (1 | 38 | EA | SITE | 66.3735 | 2522.19 | 274
7151305 | DK Blanking panel, 482.6 mm (1 | 80 | EA | SITE | 206.5966 | 16527.73 | 274
7979112 | PDU basic 32A/1P CEE 16x C13 | 79 | EA | SITE | 959.4514 | 75796.66 | 274
7979722 | PDU overvoltage protection 32A | 79 | EA | SITE | 617.8458 | 48809.82 | 274
13-3103-00006 | Cable Trunking 54x50x1.5x3000m | 480 | EA | SITE | 79 | 37920 | 277
SC44_F_00184696 | Cable Trunk Accessories | 100 | EA | SITE | 57 | 5700 | 277
TH-0045-C-GTR103000 | Cable Trunk Accessories | 100 | EA | SITE | 9 | 900 | 277
LAN1-48AE-PGTL-B | Fiber Patch Panel | 1 | EA | SITE | 835 | 835 | 287
CE00100 | EMT Conduit 1 inch | 1016 | EA | SITE | 20.0009 | 20320.91 | 290
SVTRBS_F_00226142 | HDG CABLE TRUNKING | 30 | EA | SITE | 118 | 3540 | 290
STFP_F_00643883 | Flanged Connector 45x20x90x1.5 | 630 | EA | SITE | 2.85 | 1795.5 | 290
GNA_F_00309495 | HDG CABLE TRUNKING | 36 | EA | SITE | 218 | 7848 | 290
LP-GHT-MSC-ECN-06200 | Earth Strap 200mm | 1000 | EA | SITE | 6.5 | 6500 | 291
STFP_F_00682733 | HDG. FLANGED CONNECTOR | 500 | EA | SITE | 4 | 2000 | 291
SPLHC32 25M | Liquid Tight Flexible Conduit, | 2 | EA | SITE | 1351.73 | 2703.47 | 291
GNA_F_00304425 | Cable Trunk Accessories | 120 | EA | SITE | 143 | 17160 | 292
CE00100 | EMT Conduit 1 inch | 1143 | EA | SITE | 20.0009 | 22861.03 | 293
652DC | EMT Connector 1 Inch | 1300 | EA | SITE | 3.09 | 4017 | 293
662DC | EMT Coupling, 1 inch | 1300 | EA | SITE | 3.9 | 5070 | 293
202 | EMT Clamp, Steel,1 inch | 1750 | EA | SITE | 0.3322 | 581.35 | 293
H1033DC | Rigid/EMT Bushing 1 inch | 2000 | EA | SITE | 1.75 | 3500 | 293
GNA_F_00367205 | HDG CABLE TRUNKING | 155 | EA | SITE | 135 | 20925 | 293
ICAMP-UBA-RDO-MH-WR | Amplifier | 119 | EA | SITE | 13614.32 | 1620104.6 | 293
52C 6 | 4" Pre-Galvanized Steel Square | 1000 | EA | SITE | 2.2 | 2200 | 293
E-CASE-F2525/12 | Waterproof ElectroBox 25x25x12 | 200 | EA | SITE | 36.1 | 7220 | 293
3M-TEMFLEX | Electrical Tape, 3M Temflex | 300 | EA | SITE | 2 | 600 | 293
PVC-GLUE-AMAN | PVC Glue, 714 CPVC, 237ml | 124 | EA | SITE | 15 | 1860 | 293
SC44_F_00184696 | Cable Trunk Accessories | 300 | EA | SITE | 57 | 17100 | 293
SC42_F_00298609 | HDG SLOT CHANNEL 41 X 20 X 2 | 200 | EA | SITE | 33.25 | 6650 | 293
TH-0045-C-GTR103000 | Cable Trunk Accessories | 300 | EA | SITE | 9 | 2700 | 293
DFA 3 | PVC Adapter, 25mm, Female, Bla | 1300 | EA | SITE | 0.27 | 351 | 293
DNC3 | PVC Coupling 25mm | 1300 | EA | SITE | 0.27 | 351 | 293
DFA2 | PVC Adaptor, 20mm, Female | 1000 | EA | SITE | 0.2355 | 235.5 | 293
DNC2 | PVC Coupling, 20mm, Black | 1000 | EA | SITE | 0.1812 | 181.2 | 293
LP-FXN-NUT-HEX-GL10 | Cable Trunk Accessories | 5000 | EA | SITE | 0.15 | 750 | 293
710DC | Connector 1" for Flexible Stee | 1000 | EA | SITE | 5.6 | 5600 | 293
52171 1 | 4 inch Square Box | 530 | EA | SITE | 6.8102 | 3609.41 | 293
KESUL0615 | Flexible Conduit, 1" (15m/Rl) | 10 | RL | SITE | 255 | 2550 | 293
SPLHC32 25M | Liquid Tight Flexible Conduit, | 5 | EA | SITE | 1351.73 | 6758.67 | 293
SPIT-58585- | SPIT STEEL ANCHOR - GRIP L M10 | 2000 | EA | SITE | 0.85 | 1700 | 293
CHCRC100 | Coupling Rigid Steel; 1"; Fema | 200 | EA | SITE | 5.55 | 1110 | 294
SPLHC32 25M | Liquid Tight Flexible Conduit, | 8 | EA | SITE | 1351.73 | 10813.87 | 294
LT203 | Connector, Straight, Conduit | 500 | EA | SITE | 16.5 | 8250 | 294
SPIT-58585- | SPIT STEEL ANCHOR - GRIP L M10 | 2000 | EA | SITE | 0.85 | 1700 | 294
60090 | Hammer-set Anchor with Screw | 3000 | EA | SITE | 0.6846 | 2053.8 | 294
52171 1 | 4 inch Square Box | 500 | EA | SITE | 6.8102 | 3405.1 | 294
LP-FXN-NUT-HEX-GL10 | Cable Trunk Accessories | 500 | EA | SITE | 0.15 | 75 | 294
STFP_F_00682733 | HDG. FLANGED CONNECTOR | 500 | EA | SITE | 4 | 2000 | 294
LP-FXN-BLT-HEX-GL10040 | G. Hex Bolt M10x40mm | 1600 | EA | SITE | 0.4 | 640 | 294
H1033DC | Rigid/EMT Bushing 1 inch | 1500 | EA | SITE | 1.75 | 2625 | 294
662DC | EMT Coupling, 1 inch | 1200 | EA | SITE | 3.9 | 4680 | 294
NL8FC | SPEAKON LINE 8 POLE | 2000 | EA | SITE | 41.6 | 83200 | 295
SS-MANHOLE-300 | SS Recessed Manhole Cover | 30 | EA | SITE | 680 | 20400 | 296
SS-MANHOLE | SS Recessed Manhole Cover | 40 | EA | SITE | 1344 | 53760 | 296
X2 MD30 | Loudspeaker/Multi-Loudspeaker | 100 | EA | SITE | 13066.98 | 1306698.26 | 297
H51-032-01-WH | Wall Mounting Kit (White) | 100 | EA | SITE | 0 |  | 297
H51-032-01-BLK | Wall Mounting Kit (Black) | 100 | EA | SITE | 0 |  | 297
DCV6 | PVC Conduit 2 inch (50 mm) | 20 | EA | SITE | 12.635 | 252.7 | 297
CCXFCB-L0047-C002-L7 | S/FTP 1200/22 A-XR, 4P, LS0H-3 | 4000 | MT | SITE | 4.655 | 18620 | 298
UBA4-MH | Custom Array Loudspeaker | 200 | EA | SITE | 1609.26 | 321851.64 | 299
CE00100 | EMT Conduit 1 inch | 50 | EA | SITE | 20.0009 | 1000.05 | 299
662DC | EMT Coupling, 1 inch | 50 | EA | SITE | 3.9 | 195 | 299
652DC | EMT Connector 1 Inch | 50 | EA | SITE | 3.09 | 154.5 | 299
H1033DC | Rigid/EMT Bushing 1 inch | 50 | EA | SITE | 1.75 | 87.5 | 299
52171 1 | 4 inch Square Box | 20 | EA | SITE | 6.8102 | 136.2 | 299
52C 6 | 4" Pre-Galvanized Steel Square | 20 | EA | SITE | 2.2 | 44 | 299
202 | EMT Clamp, Steel,1 inch | 50 | EA | SITE | 0.3322 | 16.61 | 299
004E8J-EG114EGR | Corning Fiber Optic Cables | 200000 | MT | SITE | 2.9608 | 573468.47 | 301
C-R00200 | RMC Conduit, 2", UL 6, 3m | 222 | EA | SITE | 90 | 19980 | 302
CHCRC200 | Coupling Rigid Steel 2" Female | 150 | EA | SITE | 15.42 | 2313 | 302
CHC155P | Connector Set Screw 2" for Rig | 32 | EA | SITE | 35 | 1120 | 302
CHCH1036DC | Bushing Insulated Rigid 2" Zin | 150 | EA | SITE | 5.67 | 850.5 | 302
C-RS2200 | RMC Strap, 2", 2 Holes, Galvan | 120 | EA | SITE | 1.43 | 171.6 | 302
GNA_F_00339961 | Cable Trunks and Accessories | 100 | EA | SITE | 76 | 7600 | 303
GNA_F_00340355 | Cable Trunks and Accessories | 100 | EA | SITE | 98 | 9800 | 303
RFOC | Fibre connecting board 4 ports | 18 | EA | SITE | 11381.74 | 204871.36 | 304
RMF | MADI I/O board 66/64 channels | 2 | EA | SITE | 13643.84 | 27287.68 | 304
XFOC | Fibre connecting board four p | 23 | EA | SITE | 8959.27 | 206063.32 | 304
XMIC+ | Microphone input module with 3 | 18 | EA | SITE | 11194.7 | 201504.68 | 304
XDA+ | Analogue output board, 8channe | 1 | EA | SITE | 7644.06 | 7644.06 | 304
XDSP | Digital Signal Processor with | 74 | EA | SITE | 9256.44 | 684976.53 | 304
XFIP | Audio Interface Board | 18 | EA | SITE | 11260.61 | 202690.94 | 304
XCI | Intelligent interface board wi | 13 | EA | SITE | 7605.28 | 98868.68 | 304
WAPL | cable converter RJ45 to instal | 5 | EA | SITE | 985.6439 | 4928.22 | 304
X19-6RU | Nexus Basedevice, 19" 6RU | 1 | EA | SITE | 17795.14 | 17795.14 | 304
XRI | Relay Interface Board for Base | 9 | EA | SITE | 3060.54 | 27544.83 | 304
RMCQ | Console Control Board for AVAT | 3 | EA | SITE | 24815.07 | 74445.2 | 304
X19-3RU | Nexus Basedevice, 19" 3RU | 22 | EA | SITE | 12777.62 | 281107.59 | 304
RBD6 | Nexus Star router frame 19"-84 | 4 | EA | SITE | 64247.77 | 256991.07 | 304
RFAN-06-GPO | Controlled Fan | 17 | EA | SITE | 1679.54 | 28552.16 | 304
XDIP | DANTE input-/output board 64/6 | 66 | EA | SITE | 10608.05 | 700131.02 | 304
VX IT 5307 | 19" Rack 42RU | 9 | EA | SITE | 23039.81 | 207358.33 | 304
DK 42RU ACC. | Rack Accessories for 42RU | 5 | EA | SITE | 8871.76 | 44358.82 | 304
AVATUS-C-36 | AVATUS Control Surface 36 Face | 3 | EA | SITE | 289146.2 | 867438.59 | 304
AVATUS-CUSTOM-METER | AVA TUS Customized Meterbridge | 6 | EA | SITE | 34367.56 | 206205.37 | 304
RFAN06-GPO | Low-noise temperature controll | 12 | EA | SITE | 1679.54 | 20154.47 | 304
RMDQ | Audio processing board for AVA | 9 | EA | SITE | 11816.48 | 106348.31 | 304